Utility Notes:

- Public water and sewer extensions to be designed by a NC licensed professional engineer.

- Public water and sewer extension plans to be shown on separate plan/profile sheets at a scale not smaller than 1”=50’ horizontal and 1”=10’ vertical.

- All work in City and NCDOT Right-of-Ways to be done by a NC licensed utility contractor.

- Public water and sewer mains installed outside of City or NCDOT Right-of-Way shall include a dedicated 25’ minimum public easement.

- Water Meter Details – Vaults required for meters over 2”.

Construction Plan General Notes: (prior to beginning construction)

- Three sets of all approved plans for water, sewer, streets and drainage must be submitted before any construction begins.

- Developer and developer’s engineer must schedule a Pre-construction meeting with staff before any construction begins.

- Developer shall schedule a minimum of 2 on-site inspections with staff during construction.

- NCDOT encroachments for utilities shall be prepared by developer’s engineer and submitted by developer. Requires City Manager’s signature, as owner’s representative since it is connected to the public system.

- NCDENR Erosion and Sedimentation Control Permit and Water and Sewer permits must be obtained. Plans and specifications to be prepared by developer’s engineer, submitted to Public Works Director for approval, then submitted to the State by the developer. Approval by the State is required prior to construction.

- NCDOT Driveway Permit – If any street is proposed to intersect with a state maintained road, a copy of the permit from the North Carolina Department of Transportation must be submitted to the city prior to approval of the final plat.

- Current “Required Details” available from Public Works.

##### WITHDRAWAL OF APPLICATION DUE TO INACTIVITY

At any time during any review procedure that there has been no written correspondence received from the Applicant by the City for a period exceeding ninety (90) calendar days from the last written comments from Staff, the application will be deemed withdrawn by the Applicant. This policy applies to all review procedures. If the Applicant wishes for the project to be reconsidered after the application is deemed withdrawn, a new Development Application will be required to be filed and shall follow the entire review procedure.

This is a listing of items to be provided to the City of Conover for plan review. Staff has tried to include all possible items. However, all sites and conditions are unique and there may be requirements which need to be added, as well as all of the listed items may not be required. As a general rule, on your plans and specifications, submit anything that is preexisting or to be built in the ground or on the site.

This list is part of the City of Conover's commitment to provide its citizens with the best possible information and service, which includes expediting plan review and approval.

# City of Conover

## Subdivision Packet

### Requirements for Major Subdivisions

Planning Department  101 1st St East  P.O. Box 549  Conover, NC. 28613  (828) 464-1191

| General Submittal Information |  |  |  |
| --- | --- | --- | --- |
|  | Sketch Plan (SP) | Preliminary Plan (PP) | Final Plan (FP) |
| Site Plan Copies | 2 | 5 | 1 on film suitable for reproduction |
| Full Plan Copies | 0 | 2 | 6 |
| Size of Plan | Any | Any | Plat - 18" x 24" Full - Any |
| Scale | Any Engineering Scale | 1"=100' | 1"=100' |
| Administration Fees | None | None | $21 - Recording Fee |
| Certification Required | None | Registered Design Professional's Seal (PE, LA) | Certificate of Ownership and Registered Land Surveyor Seal |

| Review Procedures: |  |  |  |
| --- | --- | --- | --- |
| Sketch Plan | Review by Planning Staff with comments from Public Works. |  |  |
|  | Comments to be returned within 7 business days. |  |  |
| Preliminary Plan | Site Plan Review Committee within 6 business days of submittal. |  |  |
|  | Comments sent to applicant or staff approval within 3 business days of review. Upon staff approval, item will be presented to the Planning Board for approval. Upon Planning Board approval, item will be presented to the City Council for approval. |  |  |
| Final Plan | The Planning Board shall approve or disapprove within 31 days of first consideration. |  |  |
|  | The City Council shall approve or disapprove within 31 days after Planning Board approval. |  |  |

** Note – The Item will be presented to the Planning Board only after approval by Staff and the Site Review Committee.

Incomplete plans or required revisions may delay the hearing of the item to the next review cycle.

DOCUMENTS REQUIRED FOR SUBMITTAL:

- Subdivision Application

- Zoning Permit (for grading)

- Zoning Amendment Application - if applicable ($25 fee)

- Annexation Petition - if applicable

- Development Agreement

- Copy of NCDEHNR Erosion Control Permit

- City of Conover Encroachment Agreement

- NCDOT Driveway Permit - if applicable ($50 fee)

- NCDOT Encroachment – if applicable

- Environmental Impact Statement

| SP | PP | FP | All sheets must contain the following: |
| --- | --- | --- | --- |
|  |  |  | Plan Title - Name of Subdivision, location, type of plan (sketch, prelim, final). |
|  |  |  | Date of plat preparation and subsequent revision dates. |
|  |  |  | North arrow and declination. |
|  |  |  | Scale – 1”=100’ shown graphically and numerically. |
|  |  |  | Seal of Registered Design Professional. |
|  |  |  | Cover Sheet: |
|  |  |  | Vicinity Map - show location of the subdivision in relation to neighboring tracts, subdivisions, roads and waterways. |
|  |  |  | Zoning Classification(s) – of the tract to be subdivided and on adjoining property. |
|  |  |  | The property identification number (PIN) as established by the Catawba County Tax Supervisor’s Office. |
|  |  |  | The name(s), address(es), and telephone number(s) of the owner(s), mortgagee(s), registered surveyor(s), land planner(s), architect(s), landscape architect(s), and professional engineer(s) responsible for the subdivision. |
|  |  |  | Area - the approximate total acreage to be subdivided. |
|  |  |  | Site Calculations - Provide the following in table format: Acreage of total tract to be subdivided, Acreage of open space and other non residential uses, total number of parcels created, linear footage of streets, linear footage of sewer by size, linear footage of water by size. |
|  |  |  | Engineer’s public improvement cost estimates. |
|  |  |  | Site Plan: |
|  |  |  | The name(s), address(es), and telephone number(s) of the owner(s), mortgagee(s), registered surveyor(s), land planner(s), architect(s), landscape architect(s), and professional engineer(s) responsible for the subdivision. |
|  |  |  | City Limit Lines – if applicable. |
|  |  |  | Boundaries of Tract – of the tract and portion to be subdivided. |
|  |  |  | Boundaries of Tract – exact boundary lines of the tract to be subdivided, fully dimensioned by lengths and bearings, and the location of intersecting boundary lines of adjoining land. |
|  |  |  | Lots – show proposed lot layout and open space. |
|  |  |  | Proposed Lot Lines – including lot numbers, dimensions, square footage or acreage and minimum setbacks. |
|  |  |  | Adjacent Property – names of owners of adjoining properties and any adjoining subdivisions of record (or proposed and under review). |
|  |  |  | Topography – vertical contours every 5 feet. |
|  |  |  | Topography – vertical contours every 2 feet, based on mean sea level datum, with reference to datum/grid monument. |
|  |  |  | Existing Features – buildings or other structures, watercourses, railroads, bridges, culverts, storm drains, both on the land to be subdivided and on the land immediately adjoining. |
|  |  |  | Natural Features – wooded areas, marshes, swamps, rock outcrops, ponds or lakes, streams or streambeds, and any other natural features affecting the site. |
|  |  |  | Open Space – proposed location and size of parks, school sites or other recreational open spaces, and their future ownership (conveyance for public to governmental body, from owners to duly constituted home owners or community association, or for tenants remaining in subdivider’s ownership). |
|  |  |  | Easements – proposed natural buffers, recreation, pedestrian, bicycle or other rights-of-way, utility or other easements, their location, width and purpose. |
|  |  |  | Phase Lines – proposed phase lines for construction (if applicable). |
|  |  |  | Road/Street Location – location, type and width of all roads, curb, gutter and sidewalk (including ramps) to be used as part of the development, including typical street cross sections. NOTE: All streets are to be designed in accordance with the latest standards of NCDOT Minimum Construction Standards for subdivision roads. |
|  |  |  | Existing and proposed street names. |
|  |  |  | Adjacent Driveways/Roads – location and name of all adjacent developed or platted roads and/or driveways; (provide SR# if State/DOT road). |
|  |  |  | Sight Triangles – location and width of all sight triangles, existing and proposed, to be used as part of the development, including dimensions. |
|  |  |  | Turn Lanes - location and widths of all turn lanes, median cuts, etc., existing and proposed, to be used as part of the development. |
|  |  |  | Right-of-Ways and Easements – location and width, label public offered for dedication or private. |
|  |  |  | Floodzones - location of floodzone or base flood elevation for 100 year event as shown on FIRM maps. |
|  |  |  | ** Details Required - Right-of-Way Section – right-of-ways, shoulders, curb & guttering, sidewalks, stone thickness, pavement widths and thickness. |

| SP | PP | FP | Grading, Drainage and Erosion Control: |
| --- | --- | --- | --- |
|  |  |  | Required Note: "Developer is responsible for meeting all NPDES Stormwater, NCDOT Street and NCDENR Erosion Control requirements." |
|  |  |  | Base Site Plan Data (Including, but not limited to: north arrow, scale, building location, streets, etc). |
|  |  |  | Show existing and proposed grading. |
|  |  |  | Drainage Plan – location of all existing and proposed swales, pipes, catch basins, berms, etc., to be used as part of the development, including flow direction. |
|  |  |  | Drainage Pipe – location, type, and size of all drainage pipes to be used as part of the development. |
|  |  |  | Drainage Easements – location and width, label public offered for dedication or private. |
|  |  |  | Erosion Control Measures and NPDES Stormwater Requirements – location of check dams, sedimentation basins, riprap, silt fencing, ponds, temporary and permanent BMPs, etc., to reduce the impacts of erosion. |
|  |  |  | Include vertical profile of all proposed streets including verticle curve data and all related drainage pipe. |
|  |  |  | Landscape Plan: |
|  |  |  | Landscaping – location, size and quantity of all landscaping, buffers, berms, etc., existing or proposed, to be used as part of the development. |
|  |  |  | Provide landscape tables listing the plant species to be used. |
|  |  |  | Provide information regarding irrigation system. |
|  |  |  | Location of fencing to be used as part of the development. |
|  |  |  | Show utility and drainage easements. |
|  |  |  | ** Details required: Fencing, berms. |
|  |  |  | Utility Plan: |
|  |  |  | Proposed water and sewer line services and desired design. |
|  |  |  | Show Site Plan. |
|  |  |  | Water Lines – location, material and size of all existing and proposed lines to be used as part of the development. |
|  |  |  | Water Taps – location and size of all taps on to all existing and proposed lines to be used as part of the development. |
|  |  |  | Valves – location of all proposed valves to be used as part of the development. |
|  |  |  | Hydrants – location of all existing and proposed hydrants to be used as part of the development. |
|  |  |  | Meters - show location of all boxes for water service connections. |
|  |  |  | ** Details required: Tracer wires (required when using PVC piping); Hydrants; Meter Settings; TS &V; Easements; Thrust Blocking; Blow-offs; Profiles for Critical Areas; Encasements. |
|  |  |  | Sewer Lines – location, material and size of all existing and proposed lines to be used as part of the development; including preliminary profiles for sanitary and storm sewers. |
|  |  |  | Sewer Lines – location, material and size of all existing and proposed lines to be used as part of the development; including profiles based on mean sea level datum for sanitary and storm sewers. Include note referencing datum/grid monument used . |
|  |  |  | Sewer Taps – location and size of all taps on to all existing and proposed lines to be used as part of the development. |
|  |  |  | Service Lines - show locations of all sewer service connections. |
|  |  |  | Manholes – location of all manholes to be used as part of the development. |
|  |  |  | ** Details required: Service connections - manholes and lines; Manholes; Cleanouts; Easements; Casements; Grease and Oil Separator . |
|  |  |  | Utility Easements – label and location of both overhead and underground, minimum size 25’. |
|  |  |  | Construction Plans: |
|  |  |  | Roads and Drainage - Construction profiles. |
|  |  |  | Water - Details and cross section profiles for critical areas including creek or utility crossings. 3 Valve cluster is required at all "Tees" and 4 valve cluster is required at all "crosses". |
|  |  |  | Sewer - Construction profiles. |

Sheet order for plans submitted:

1) Cover Sheet 					5) Overall Utility Layout

2) Overall Subdivision Layout (Site Plan) 	6) Water and Sewer System Plan/Profiles

3) Grading and Drainage 			7) Construction Details

4) Street Plan/Profiles

The items listed must be included on the specific plan sheets specified. If the information is not provided, it may cause a delay in the review process and move the project into another review cycle.