REQUEST FOR QUOTATION

FOR:

HVAC MAINTENANCE FOR PROPERTY

CITY OF KINGS MOUNTAIN

ATTN:  CATHY HERRING

# PO BOX 429

KINGS MOUNTAIN, NC  28086

PH (704) 734-4608  FAX (704) 734-4590

Email:  cathyh@cityofkm.com.

A mandatory pre-bid will be held at the City of Kings Mountain, at Kings Mountain City Hall, 101 W. Gold Street, in the Firemen’s training room at 10:00AM, Tuesday August 8, 2006.  A guided tour of each building will follow.

Proposals will be received in the Purchasing Division, City Hall, 101 W. Gold Street, PO Box 429, Kings Mountain, North Carolina, 28086 until Tuesday, August 15, 2006 for furnishing the materials and services described below.  Please note conditions.

GENERAL:

Services to be provided at the following locations:

- City Hall:  101 W. Gold St. Kings Mountain, NC  28086

- Public Works:  1013 N. Piedmont Ave. Kings Mountain, NC  28086

- Community Center:  208 N. Cleveland Ave. Kings Mountain, NC  28086

- Police:  112 S. Piedmont Ave. Kings Mountain, NC  28086

- Library:  100 S. Piedmont Ave. Kings Mountain, NC  28086

- Aging:  909 E. Kings St. Kings Mountain, NC  28086

- Moss Lake:  2621 Oak Grove Rd. Shelby, NC  28150

- Pilot Creek:  200 Potts Creek Rd., Route 6 Kings Mountain, NC  28086

- Pump Dept:  South Dilling St. Kings Mountain, NC  28086

- Cemetery:  South Dilling St. Kings Mountain, NC  28086

## Scheduled Maintenance

- Trained technicians, engineers, and mechanics should conduct necessary tasks to ensure that the equipment is properly maintained.

- Each piece of covered equipment receives inspection and thorough routine preventive maintenance.  Periodic tests and adjustments are made to ensure efficient and reliable operation.

- Maintenance intervals will be provided at least two (2) times a year.

- Following each scheduled inspection the contractor will provide inspection reports depicting equipment condition with recommendations to correct any problems.  .

- The Community Center (YMCA) boiler must be serviced and the heaters that have coils must be cleaned.

## Repair Services

If in the course of a service call, it is determined that a repair to the covered system or a replacement of a component within the system would be beneficial, the City of Kings Mountain will be advised of the defect.  Subject to approval by an authorized agent by the City of Kings Mountain, work will be performed on a preferred time and material basis.

## Operational Support

On a regularly scheduled basis the contractor will make recommendations to the City to improve system efficiency and reliability, or reduce operational costs.  A summary of services performed will also be prepared for the City’s review.

The contractor will provide a written report of work done under this agreement at the end of each service call to update the history of the work performed.

#### Preventative Maintenance Inspections

The contractor will perform scheduled preventive maintenance inspections.  The contractor will conduct its work during normal working hours.

Check and verify performance of all covered equipment and components in accordance with manufacturer’s specifications, original design criteria, and proper maintenance practice.

Maintenance Inspection(s) shall be performed two (2) times a year (spring & fall)

- Clean evaporator & condenser coil(s)

- Check drive belt(s)

- Check fan(s) for loose bolt(s)

- Check operation of temperature control

- Check condenser fan control and adjust

- Check compressor oil level

- Check and record discharge pressure

- Check high & low pressure control and adjust

- Check for refrigerant leaks

- Clean condensate drain

- Clean breakers and wiring for over heating

- Check contractor contacts

- Tighten electrical connections

- Check recycle timer operation

- Check and record unit volts & amps

- Check and record compressor & amps volts

- Lubricate all fans and bearings

##### Coverage Period

The coverage period for this contract will be September, 2006 through June 30, 2007.

- Continuation of Contract beyond 1st year.

This contract may be renewed yearly with notification to the contractor.

##### Emergency

We need 24 hours respond time in case of an emergency situation.

- Listed below is an HVAC Equipment list in each building.

Site:	Public Works

1013 N. Piedmont Ave.

Kings Mountain, NC  28086

704-734-4504

| Service | Area/ Location | Brand | Model # | Serial # | Description |
| --- | --- | --- | --- | --- | --- |
| Main |  | Carrier | 40RT102410 | 6691413 | Inside Units = Air Handler ID Section of Heat Pump Voltage: 208/3 PH Blwer Motor Blower Relay: Filter 1: Filter 2: Filter 3: Belt: AH Size: |
| D/S | On roof | Carrier | 38AC012430 | H793459 | Heat Pump This is a split heat pump Voltage: 208/230 3 Phase Relay: Condensor: Fan Motor: Blade: Refrig: Hard Start Drier: |
| Main |  | Trane | WCC060F300BB | H35152943 | Heat Pump Voltage: 208/230 3 Phase Relay: Condensor: Fan Motor: Blade: Refrig: 12# R-22 Hard Start Drier: |
| U/S South |  | Lennox | NA | NA | Heat Pump 5 ton heat pump plate unreadable Voltage: Relay: Condensor: Fan Motor: Blade: Refrig: Hard Start Drier: |
| Gas Dept. | Bath & Office | Carrier | 38EN030340 | 0888E33176 | Outside Units = Condensors Voltage: 208/230 3 Phase R-22 6.5 lbs. 230 Volt Direct Drive Belt Straight AC Only |
| Main |  | Carrier | 40AQ036350GM | 2490A3894 | Inside Units = Air Handler ID Section of Heat Pump Voltage: 115/208/1 PH Blwr Motor Blower Relay: Filter 1: Filter 2: Filter 3: Belt: AH Size: |
| Main |  | Furnace | #1 |  | Furnace Type Filter Relay |
| Main |  | Furnace | #2 |  | Furnace Gas Type Filter Relay |
| Main |  | Furnace | #3 |  | Furnace Gas Type Filter Relay |
| Main |  | Furnace | #4 |  | Furnace Gas Type Filter Relay |
| Training & Office | On Roof | Trane | 2TWB0018A1000AB | 44637AM4F | Split System |
| Training | On Roof | Trane | 2TWA0036A3000AB | 44022EB4F | Split System |

Site:	YMCA of Kings Mountain

208 N. Cleveland Ave.

Kings Mountain, NC  28086

704-739-9631

| Service | Area/ Location | Brand | Model # | Serial # | Description |
| --- | --- | --- | --- | --- | --- |
| Front Office Area | Front Roof | Trane #8 | YSC060A3ELA0000 YSC120A3ELA0000 | 612101854 608100630 | Package Unit Gas Fired Main controls in a room next to daycare center. Controls have a sensor in daycare center. |
| YMCA Conference Room |  | Trane | 2TTA3036A3000AA | 6201T163F | Outside Units = Condensers |
| ESC Training & break room |  | Trane | 2TTA3036A3000AA | 6201TX63F | Outside Units = Condensers |
| ESC Office | Padlock Area | Trane #3 | 2TTA0048A3000AA | 5054UH93F | Outside Units = Condensers |
| Mountaineer Room & Weight Rm | Padlock Area | Trane | 2TTB0036A1000AA | 44735GK5F | Outside Units = Condensers 208/230/1PH- 15.3 Amps |
| Mountaineer Room & Weight Rm |  | Carrier | 0705E22204 | 38TZA036340 | Outside Units = Condensers |
| Aerobic Room | Padlock Area | Trane #1 | 2TTA3048A3000AA | 6174LDG4F | Outside Units = Condensers |
| Offices-Halls | Padlock Area | Trane | TTA090A300FA | 6102MNDAD | Outside Units = Condensers 208/230/3PH |
| YMCA Conference Room |  | Trane | 2TEC3F36A1000AA | 6192DCP1V | Inside Units = Air Handler |
| ESC Training & break room |  | Trane | 2TEC3F36A1000AA | 6192DCUIV | Inside Units = Air Handler |
| ESC Office & break room | Behind Mountaineer Room | Trane #3 | TWE048C140C0 | 5055M862V | Inside Units = Air Handler Has Hot Water Coil for Heat – New App 3-15-05 |
| Mountaineer Room & Weight Rm | Behind Mountaineer Room | Trane #4 | 2TEC3F3A1000AA | 6192DHHIV | Inside Units = Air Handler Has hot water coil for heat |
| Mountaineer Room & Weight Rm |  | Carrier | FC4CNF036 | 0405A83493 | Inside Units = Air Handler |
| Aerobics Room |  | Trane | 2TEC3F48A1000AA | 6186BH02V | Inside Units = Air Handler AHS Hot Water Coil for Heat Voltage: 115/1PH |
| Offices-Halls | Behind Mountaineer Room | Trane #7 | TWE090A300EL | 6143KM2BD | Inside Units = Air Handler Has hot water coil for heat |
| Crisis Ministry | Back of Gym | Trane | 2TGB3F48A1000AA | 61716Y56V |  |
| Crisis Ministry | Outside Unit | Trane | 2TWB3048A100AA | 54716HW4F |  |
| Main Building | Outside Room R-Side | Wielman |  |  | Boiler Natural Gas Fired |
| Fitness Center | Behind Mountaineer Room | Trane #1 | BUP-3B | Type 651-61B | Inside Units = Air Handler Has hot water coil for heat |
| Entire Building | Behind Mountaineer Room | Bell/Goss |  |  | Hot Water Pump Flex Coupling |
| Gym |  | Trane |  |  | Hot water Heaters Mounted in Ceiling – Need Lift to work on units |

Site:	Mauney Memorial Library

100 S. Piedmont Ave.

Kings Mountain, NC  28086

704-734-4504

| Service | Area/ Location | Brand | Model # | Serial # | Description |
| --- | --- | --- | --- | --- | --- |
|  |  | Trane | TTA048A300A0 | C17254418 | Outside Units = Condensors 208/230 Volt 3 Phase |
|  |  | Trane | TTA048A300A0 | C07269933 | Outside Units = Condensors 208/230 Volt 3 Phase |
|  |  | Trane | TTA060A300A0 | C31298818 | Outside Units = Condensors 208/230 Volt 3 Phase |
|  |  | Trane | TTA060A300A0 | C05267304 | Outside Units = Condensors 208/230 Volt 3 Phase |
|  |  | Trane | TTA060A300A0 | C09298924 | Outside Units = Condensors 208/230 Volt 3 Phase |
| Main | Basement Old Section | Trane | XE70 | #1 | Inside Units = Air Handler Voltage: Blwr Motor Blower Relay: Filter 1: Filter 2: Filter 3: Belt: AH Size: |
| Main | Basement Old Section | Trane | XE70 | #2 | Inside Units = Air Handler Voltage: Blwr Motor Blower Relay: Filter 1: Filter 2: Filter 3: Belt: AH Size: |
| Main | Basement Old Section | Trane | XE70 | #3 | Inside Units = Air Handler Voltage: Blwr Motor Blower Relay: Filter 1: Filter 2: Filter 3: Belt: AH Size: |
| Main | Basement Old Section | Trane | XE70 | #5 | Inside Units = Air Handler Voltage: Blwr Motor Blower Relay: Filter 1: Filter 2: Filter 3: Belt: AH Size: |
| Main |  | Trane | TU5160A960A1 | C18532032 | Inside Units = Air Handler Voltage: Blwr Motor Blower Relay: Filter 1: Filter 2: Filter 3: Belt: AH Size: |

Site:	Police Department

112 S. Piedmont Ave.

Kings Mountain, NC  28086

704-734-0444

| Service | Area/ Location | Brand | Model # | Serial # | Description |
| --- | --- | --- | --- | --- | --- |
| Main |  | Carrier | 48TJ008-521GA | 499BG30057 | Gas Pack 4.8+4.9 lb of R22 BTUS Volts 208/230 Phase 3 Cycle |
| Main |  | Carrier | 48TJD008-521GA | 0299G30068 | Gas Pack 4.8+4.9 lb of R22 BTUS Volts 208/230 Phase 3 Cycle |
| Main |  | Carrier | 48TJD012-511GA | 0599G30977 | Gas Pack 5.8+5.9 lb of R22 BTUS Volts 208/230 Phase 3 Cycle |
| Main |  | Carrier | 48TJD008-521GA | 5098G30041 | Gas Pack 4.8+4.9 lb of R22 BTUS Volts 208/230 Phase 3 Cycle |
| Main |  | Carrier | 48TJD007-521GA | 0999G21270 | Gas Pack 7.5 lbs of R22 BTUS Volts 208/230 Phase 3 Cycle |
| Main |  | Carrier | 48TJD007-521GA | 0999G21256 | Gas Pack 7.5 lb of R22 BTUS Volts 208/230 Phase 3 Cycle |
| Plant |  | Carrier | 48TJ007-521GA |  | Roof Top Voltage: Relay: Hrd Start: Fan Motor Blade: Rt Size: Compressor |

Site:	City Hall

101 W. Gold St.

Kings Mountain, NC  28086

704-734-4504

| Service | Area/ Location | Brand | Model # | Serial # | Description |
| --- | --- | --- | --- | --- | --- |
| Main | Outdoors on Ground | Carrier | 09DE054600 | B897512 | Inside Units = Air Handler Voltage: 460 3PH Blwr Motor Blower Relay: Filter 1: Filter 2: Filter 3: Belt: AH Size: |
| Main |  | Carrier | 30HS080B600 | E842456 | Chiller 460 3HP Chill water pump coupling sureflex #5JE. #1 Compressor rebuild 4-21-03 & #2 Compressor 06EA250660 S#A800414 has only 2 valve plates no unloaders |
| Main | Outdoors on ground | Carrier | 09DD03460 | C895647 | Outside Units = Condensors 460/3PH |
| Main |  | Carrier | 38AC012640 | A893091 | Outside Units = Condensors 460 3HP Split System Matches AH 4ORT012530 E893926 |
| Main Bldg | Rooftop | Carrier | 39ED39 | 782078680 | Inside Units = Air Handler Transmitter Barber Coleman T150-1023-0-100 Deg 2 Req. 1 in leaving air & 1 in Outdoor air vane inlet-1 req LA73ZW271CCW 1 Req LA73ZW271CW Day Delivery-Component Assembly Sequence MXB2-LVF1-LCS1-AFS1 Voltage: 208/230/3 Blwr Motor Blower Relay: Filter 1: Filter 2: Filter 3: Belt: AH Size: |
| Fire Dept | On Roof | Lennox | GCS16-060-120-2 | 5699G08926 | Gas Pack 7 lbs. R22 BTUS Volts 460 Phase 3PH Cycle |
| Fire Dept | On Roof | Lennox | GCS16-653-125-3 | 5694A08021 | Gas Pack BTUS Volts 460 Phase 3PH Cycle |
| Council Room | Next to Mens Bath | Carrier | 40RT012530 | E893926 | Inside Units = Air Handler Humidified Voltage Blwr Motor Blower Relay: Filter 1: Filter 2: Filter 3: Belt: AH Size: |
| Council Room | Council Room AHU | Armstrong | EHV301 |  | Humidification System |
| Main Building | AHU Duct Chiller Rm | Armstrong | EHV750 |  | Humidification System |
| Main Part Building | Equipment Room | Armstrong | EHU-704 | 21241 | Humidifier 480 Volts 3 Phase 60C 96 Amps- Return Air Duct Humidistat #C1472-High Limit Duct Humidistat #A8581 |
| Chiller | Chiller Room | Bell/Goss |  |  | Pump Replaced Contactor with a cutler hammer & Heaters FH34 |
| Entire Bldg | Chiller Room | Devilbiss | 220 | B87 | +Air Compressor |
| Entire Bldg | Building Zone | Carrier |  |  | Vav Boxes There are at least 12 Vav boxes that have fans and elect heat |
| Entire Bldg | Thru out Building | Barber Co. |  |  | Pneumatic Controls Note: Main building has barber coleman pneumatic controls, vav boxes have thermostats on walls, AHU has controls in AHU and downstairs in chiller room |
| Control Air | Chiller Room | Hankison |  |  | Air Dryer Removes Moisture from control air |

Site:	Moss Lake Park Office

2621 Oak Grove Road

Shelby, NC  28150

704-734-4504

| Service | Area/ Location | Brand | Model # | Serial # | Description |
| --- | --- | --- | --- | --- | --- |
| Office | Office | G.E. | BWU030 | 319912 | Air Cooled Condensor |
| Unit #1 |  | Trane | BWD730A100B1 | Y04296269 | 1 Phase / 208/230 Compressor 14 Amps Fan .9 |
| Unit #2 |  | Trane | BWD730A100B1 | Y04296279 | 1 Phase / 208/230 Compressor 16.2 Amps |

Site:	Senior Center

909 East King St.

Kings Mountain, NC  28086

704-734-4504

| Service | Area/ Location | Brand | Model # | Serial # | Description |
| --- | --- | --- | --- | --- | --- |
| #11 | On Roof | Carrier | 48TFE007-M-501 | S101G24586 | Pkg Unit (Gas) 208/230/3 |
| #7 | On Roof | Carrier | 48TFE009- 501 | S001G31126 | Pkg Unit (Gas) 208/230/3 |
| #4 | On Roof | Carrier | 48TFE007-M-501 | S101G24584 | Pkg Unit (Gas) 208/230/3 |
| #8 | On Roof | Carrier | 48TFE007-M-501 | S101G24583 | Pkg Unit (Gas) 208/230/3 |
| #2 | On Ground | Carrier | 48TFE007-M-581 | S0701G20838 | Pkg Unit (Gas) 208/230/3 |
| #9 | On Roof | Carrier | 48TFE007-M-581 | S101G24581 | Pkg Unit (Gas) 208/230/3 |
| #1 | On Roof | Carrier | 48TFE004-501-GA | S001G25283 | Pkg Unit (Gas) 208/230/3 |
| #6 | On Roof | Carrier | 48TFE008-501-GA | S0801G30071 | Pkg Unit (Gas) 208/230/3 |
| #10 | On Roof | Carrier | 48TFE007-M-501 | S101G24582 | Pkg Unit (Gas) 208/230/3 |
| #5 | On Roof | Carrier | 48TFE007-M-501 | S101G24585 | Pkg Unit (Gas) 208/230/3 |
| #3 | On Roof | Carrier | 48TFE006-501-GA | S1101G24278 | Pkg Unit (Gas) 208/230/3 |

Site:	Pilot Creek Waste Water Treatment Plant

Potts Creek Road

Kings Mountain, NC  28086

704-739-7131

| Service | Area/ Location | Brand | Model # | Serial # | Description |
| --- | --- | --- | --- | --- | --- |
| Wastetreatment Lab | Outside on Ground | Carrier | 38CKC024341 | 1904E52852 | Outside Units = Condensors 2 Ton – Compressor 11.6 Amps 208/230/1 PH Coond fan motor 1/16 HP max fuse 20 amp- min 15.5 amps. Cond fan motor GE5KCP39BGR201BS 1500RPM .09Amps – Capctor 5.00MF/370 volts |
| Wastetreatment Lab | Front Office Ceiling | Carrier | FA48BF024 | 0504A83008 | Air Handling Unit Goes with carrier Outside Units = Condensors FA48NF024 ¼ HP 208/230/1 PH Direct Drive Fan Motor |

Site:	Cemetery

South Dilling St.

Kings Mountain, NC  28086

704-734-4504

| Service | Area/ Location | Brand | Model # | Serial # | Description |
| --- | --- | --- | --- | --- | --- |
| Main Bldg | Outside | Carrier | H8AB-022060301 | 3192C87862 | Package Unit |

Site:	Pump Dept.

South Dill St.

Kings Mountain, NC  28086

704-734-4504

| Service | Area/ Location | Brand | Model # | Serial # | Description |
| --- | --- | --- | --- | --- | --- |
| Entire Building | Outside | Payne | PYIPNB024060AAA | 4100014345 | Package Unit |

Safety:

The Contractor shall perform all work in accordance with state, federal, and City of Kings Mountain safety regulations, which ever are shown to be more stringent in regards to work zones, work areas, equipment, vehicles, tools and supplies.  The Contractor shall provide all necessary personal protective equipment to its employees, partners, agents, customers, invitees, Contractors and so Subcontractors (if not provided by contractors and subcontractors).  The Contractor shall provide all necessary and required work zone protective devices and traffic channeling devices as required under state and federal safety regulations.

The City’s Risk Manager/Safety Director shall be given full access to inspect all aspects of the job, work zone, equipment, personal protective equipment and all areas and aspects of the job for compliance with State and Federal safety regulations.  Should the City’s Risk Manager/Safety Director identify any areas of concern the Contractor shall at his expense address these concerns to the satisfaction of the City’s Risk Manager/Safety Director.  Should the Contractor fail to remedy any identified safety concerns where feasible the City’s Manager/Safety Director shall have functional authority to halt work until said safety concerns are corrected to the City’s Manager/Safety Director’s satisfaction?

Should the Contractor fail to remedy any verifiable safety concerns identified by the City’s Risk Manager/Safety Director, the City at its option may cancel any agreements, reserving for itself any remedies it may have for breach of contract.

Have a representative on the work site when a lower tier subcontractor is performing any work, even if no work is being performed by Contractor’s direct work forces.  This representative shall be responsible for assuring that applicable safety, health, and environmental rules and regulations are observed and in addition shall be responsible for responding to medical emergencies related to subcontractor’s employees or sub-subcontractors.

Protect the safety and convenience of the general public.  Perform work as necessary to protect the general public from hazards.

Construct and maintain satisfactory and substantial barriers with warning lights and proper signs as necessary or required for safety.

Insurance:

The successful bidder shall provide to the City of Kings Mountain certificates of insurance of the following minimum levels of insurance coverage. The City of Kings Mountain shall be additional named insured with no exceptions.

- Comprehensive General Liability Insurance

(Including products and completed operations)

-	Bodily Injury	- 1,000,000 per Person

- 2,000,000 Aggregate

-	Property Damage	- 1,000,000 per Occurrence

-	Auto Liability Insurance 	- 100,000 per Claim

- 300,000 per Incidence

-	Workers Compensation Insurance as required by North Carolina law with the NC WC Statutory Limits checked.

# Indemnity Provision:

Contractor assumes entire responsibility and liability for losses, expenses, demands and claims in connection with or arising out of any injury, or alleged injury (including death) to any person, or damage, or alleged damage, to property of the City of Kings Mountain or others sustained or alleged to have been sustained in connection with or to have arisen out of or resulting from the performance of the work/service by the Contractor, his subcontractors, agents, and employees, including losses, expenses or damages sustained by the City of Kings Mountain, its officials, employees or volunteers from any and all such losses, expenses, damages, demands and claims and agrees to defend any suit or action brought against them, or any of them, based on any such alleged injury or damage, and to pay all damages, cost and expenses in connection therewith or resulting there from.  As an integral part of this agreement, Contractor agrees to purchase and maintain during the life of this contract contractual liability insurance in the amount required in the general liability insurance requirements and to furnish proper evidence thereof.

Bid

## Maintenance Cost per year	____________

Service Charge per mile	____________

The City of Kings Mountain reserves the right to reject any or all bids, and to make this award in the best interest of the City of Kings Mountain, whether it is in whole or in part.

## Signed:    	________________________

## Title:         	________________________

## Company: 	________________________

## Address:	________________________

________________________

## Telephone No:	________________________